## Slide 1: Training Resources and Demonstrations with Python
Paulo Radatz
Engineer Scientist II
EPRI, Knoxville, TN
May 12th, 2022

## Slide 2: Speaker
Paulo Radatz
Paulo Radatz has worked as Engineer/Scientist at the Electric Power Research Institute (EPRI) in Knoxville, Tennessee, the USA, since 2019. He received both his Master's and Bachelors's degrees in electrical engineering, emphasizing energy and automation, from the University of Sao Paulo, Sao Paulo, Brazil. He was awarded a prize for being the best bachelor's student at the Polytechnic School of the University of Sao Paulo (2015). He has assisted the electric utility industry's transition to tomorrow's distribution platform using a balanced, no-regrets approach to grid modernization with the following topics: hosting capacity, mitigation options to increase hosting capacity, time-series hosting capacity, and DER modeling for QSTS simulation. Currently, he is the leading developer of the EPRI DRIVE tool, and he is one of the OpenDSS developers.
He has seven years of experience with OpenDSS, having taught several OpenDSS trainings in Brazil at conferences, universities, and industry. He is the founder of the largest YouTube channel about OpenDSS in the world. Currently, he lectures about OpenDSS in the Electric Power Distribution MBA course and in the Power System Analysis with OpenDSS course, both at Polytechnic School of the University of Sao Paulo.

## Slide 3: Agenda
Training Resources
  Virtual Trainings
  YouTube Resources
Demonstrations with Python
  Why You Might Want to Write Some Code …
  What Languages Can You use for Your Code?
  OpenDSS Versions
  Ways to Write Code to Do Innovative Things
  Python integration: py-dss-interface
  Example #1: Maximum Load Growth
  Example #2: Hosting Capacity Analysis

## Slide 4: Training Resources

## Slide 5: Virtual Trainings
2021 Virtual Training
2020 Virtual Training

## Slide 6: YouTube Resources
OpenDSS Basics Playlist
OpenDSS and Python Playlist
OpenDSS-G YouTube Channel

## Slide 7: Demonstrations with Python

## Slide 8: Why You Might Want to Write Some Code …
Create an algorithm not in OpenDSS
Automate manual and repetitive tasks
Develop a new device model or control
Obtain meaningful results

## Slide 9: What Languages Can You use for Your Code?
Excel VBA
VB.net
C#
C/C++
Delphi, Free Pascal
MATLAB
Python
Java
LabView
R
Fortran (for DLLs, with DirectDLL)
Julia (with DirectDLL)
Link
Opportunity to use your preferred programming language

## Slide 10: OpenDSS Versions
  OpenDSS.exe Standalone EXE
  OpenDSSEngine.dll In-process COM server
  OpenDSSDirect.dll Direct Call DLL
  OpenDSSCmd.exe Standalone EXE command line
Available in 32-bit and 64 bit
KLUSolve.dll, “sparse matrix solver”
DSSView.exe, external program to process output results

## Slide 11: Python integration: py-dss-interface
Python Package
Uses the official OpenDSS DirectDLL version
  Version 9.3.0.1 comes with the Package
  Users can use their OpenDSS version as well
Created based on Direct connection Shared Library (DLL) for OpenDSS doc by Davis Montenegro
Installing from PyPI
  pip install py-dss-interface
https://pepy.tech/project/py-dss-interface
Examples

## Slide 12: Example #1: Maximum Load Growth

## Slide 13: Study Objectives
Determine the maximum load growth without the feeder experiencing Undervoltage
Process
Define baseline scenario
While not undervoltage
  Increase all load sizes equally with a 1% value
  Perform a snapshot simulation
  Obtain the minimum voltage across the feeder
  Compare the minimum voltage with the Undervoltage threshold of 0.95 pu
When Undervoltage
  Result is the load growth in % value of the previous iteration
123Bus
Feeder head

## Slide 14: Python Script
Importing Python Packages
Selecting dss model
Creating dss object
Changing model to provide more interesting results
Load growth and power flow
Checking for violation
Results

## Slide 15: Results
22% load growth without experiencing undervoltage

## Slide 16: Example #2: Hosting Capacity Analysis

## Slide 17: What is Hosting Capacity?
Hosting capacity is defined as an estimate of the amount of DER that can be accommodated anywhere on the distribution system without adversely impacting power quality or reliability under existing control configurations and without requiring infrastructure upgrades.
  The Hosting Capacity Process: https://www.epri.com/research/products/000000003002019750
  EPRI’s Distribution Resource Integration and Value Estimation (DRIVE) Tool :
    https://www.youtube.com/watch?v=n4papbQWp28&t=17s
    https://www.epri.com/research/products/000000003002023086
  Hosting Capacity Guidebook: 2021 Edition: https://www.epri.com/research/products/000000003002021527

## Slide 18: Feeder
Ckt5 EPRI Test Circuit
Ckt5
Feeder head
Voltage regulating devices
  Regulators are off
  Capacitors are off

## Slide 19: Study Objectives
Simulation
Perform the centralized hosting capacity process considering overvoltage as the only metric
Obtain OV HC for each 3-ph MV bus
Data Analysis
Plot the histogram of the OV HC for all considered buses
Provide the histogram of Overvoltage Centralized Hosting Capacity for generation results for all three-phase medium voltage buses.

## Slide 20: Simulation Part
Process
  Compile Circuit
  Get all 3-ph MV buses
  For each bus
    Compile circuit
    Set baseline
    Run OV HC process
    Save OV HC
  Save (Buses; OV HC results)

## Slide 21: Process (process_hc.py)

## Slide 22: Process (process_hc.py)

## Slide 23: Process (process_hc.py)

## Slide 24: Process (process_hc.py)

## Slide 25: Process (process_hc.py)

## Slide 26: Process (process_hc.py)

## Slide 27: Process (process_hc.py)
“…\HostingCapacity_OpenDSS\outputs\results.csv"

## Slide 28: Data Analysis (data_analysis.py)

## Slide 29: Data Analysis (data_analysis.py)

## Slide 30: Thank you! Questions?