## Slide 1: OpenDSS V8 and OpenDSS-G
Davis Montenegro Engineer/Scientist III
UCF OpenDSS Workshop July 26-27, 2018 Orlando, FL

## Slide 2: Instructor
Davis Montenegro, Member, IEEE
Davis Montenegro-Martinez serves as Engineer/Scientist III at the Electric Power Research Institute (EPRI) in the areas of power system modeling, analysis and high performance computing. He received his degree in electronics engineering from Universidad Santo Tomás, Bogotá, Colombia (2004); he is M.Sc. in electrical engineering from Universidad de los Andes, Bogotá , Colombia (2012). He received his Ph.D. in electrical engineering from Universidad de los Andes (2015), and a Ph.D. in electrical engineering from the University Grenoble-Alpes, France (2015).
Before joining EPRI, Davis served for 10 years as a lecturer for Universidad Santo Tomas in Colombia, during this time he was also technology consultant in the areas of industrial automation, software and electronic hardware design focused in the electric power industry, specifically in monitoring and control for meter calibration laboratories. His expertise in parallel computing techniques is being used at EPRI for incorporating multi-core processing to power system analysis methods such as QSTS, reducing the computational time required to perform these analysis using standard computing architectures

## Slide 3: THE FUTURE OF OpenDSS

## Slide 4: The evolution of OpenDSS into a parallel computing machine
After being released in 2008 as open source software OpenDSS has become widely used around the world. One of the features that makes OpenDSS popular is that the package offers interfaces for co-simulation.

## Slide 5: The evolution of OpenDSS into a parallel computing machine

## Slide 6: The evolution of OpenDSS into a parallel computing machine
These features have been implemented into the existing interfaces preserving the format and adding instructions to the instruction set

## Slide 7: The evolution of OpenDSS into a parallel computing machine
OpenDSS-G
Dbus
TCP/IP Server

## Slide 8: The evolution of OpenDSS into a parallel computing machine
There is a new set of functions and instructions related with parallel processing, topology analysis and more that can be used using the same DSS command environment
NumCPUs | ClearAll | Tear_Circuit
NumCores | Wait | Export IncMatrix
NewActor | Parallel | Export IncMatrixRows
NumActors | SolveAll | Export IncMatrixCols
ActiveActor | ConcatenateReports | Export BusLevels
CPU | CalcIncMatrix | Init_Diakoptics
ActorProgress | ClacIncMatrix_o | Refine_BusLevels
Abort |  | 

## Slide 9: How far can you get with your computer in multi-core
Depending on your computer features and the understanding that you have about them it will depend how far can you go with parallel processing

## Slide 10: How far can you get with your computer in multi-core
Depending on your computer features and the understanding that you have about them it will depend how far can you go with parallel processing
Core
Thread 0 (CPU)
Thread 1 (CPU)

## Slide 11: How far can you get with your computer in multi-core
Depending on your computer features and the understanding that you have about them it will depend how far can you go with parallel processing
Core
CPU 0
CPU 1
http://www.trustedreviews.com/opinion/best-intel-processor-core-i3-i5-i7-2937692

## Slide 12: How far can you get with your computer in multi-core
Depending on your computer features and the understanding that you have about them it will depend how far can you go with parallel processing
Core
CPU 0
CPU 2
Core
CPU 0
CPU 1
CPU 2
CPU 3

## Slide 13: Parallel processing in OpenDSS What can I do with it?
Temporal Parallelization

## Slide 14: Parallel processing in OpenDSS What can I do with it?
Spatial Parallelization

## Slide 15: Starting a parallel computing simulation
clearAll
set parallel=No
! Starts with Actor 1
compile "C:\Program Files\OpenDSS\EPRITestCircuits\ckt5\Master_ckt5.dss"
set CPU=0
Solve
NewActor ! Creates Actor 2 and activates it
compile "C:\Program Files\OpenDSS\EPRITestCircuits\ckt5\Master_ckt5.dss"
set CPU=2
Solve
NewActor ! Creates Actor 3 and activates it
compile "C:\Program Files\OpenDSS\EPRITestCircuits\ckt5\Master_ckt5.dss"
set CPU=3
Solve
set parallel=Yes
…

## Slide 16: Starting a parallel computing simulation
  …
  set activeActor=1
  set mode=yearly stepsize=1h number=2000 hour = 0 totaltime=0
  set activeActor=2
  set mode=yearly stepsize=1h number=2000 hour = 2000 totaltime=0
  set activeActor=3
  set mode=yearly stepsize=1h number=2000 hour = 4000 totaltime=0
  SolveAll
  Wait
  set ConcatenateReports=Yes
  show monitor MS2

## Slide 17: Parallel in OpenDSS means concurrently
  …
  set activeActor=1
  set mode=yearly stepsize=1h number=2000 hour = 0 totaltime=0
  set activeActor=2
  set mode=yearly stepsize=1h number=2000 hour = 2000 totaltime=0
  set activeActor=3
  set mode=yearly stepsize=1h number=2000 hour = 4000 totaltime=0
  SolveAll
  get actorprogress

## Slide 18: Parallel in OpenDSS means concurrently
  …
  set activeActor=1
  set mode=yearly stepsize=1h number=2000 hour = 0 totaltime=0
  set activeActor=2
  set mode=yearly stepsize=1h number=2000 hour = 2000 totaltime=0
  set activeActor=3
  set mode=yearly stepsize=1h number=2000 hour = 4000 totaltime=0
  SolveAll
  Wait
  set ConcatenateReports=No
  set activeActor=1
  show monitor MS2
  set activeActor=2
  show monitor MS2 …

## Slide 19: Parallel in OpenDSS means concurrently

## Slide 20: Parallel processing in OpenDSS using COM
The examples for parallel processing can be downloaded from:
https://sourceforge.net/p/electricdss/code/HEAD/tree/trunk/Version8/Distrib/Examples/Parallel_Processing
These examples involves MATLAB and python.
Other examples for LabVIEW through the VI Package Manager

## Slide 21: Parallel processing in OpenDSS using COM
Example # 1 MATLAB

## Slide 22: Parallel processing in OpenDSS using COM
Example # 1 MATLAB

## Slide 23: Parallel processing in OpenDSS using COM
Example # 2 MATLAB

## Slide 24: Parallel processing in OpenDSS using COM
Example # 2 MATLAB

## Slide 25: Parallel processing in OpenDSS using COM
Example # 3 MATLAB

## Slide 26: Parallel processing in OpenDSS using COM
Example # 3 MATLAB

## Slide 27: Parallel processing in OpenDSS using DirectDLL
Using the OpenDSS-PM library for NI LabVIEW

## Slide 28: Parallel processing in OpenDSS using DirectDLL
Using the OpenDSS-PM library for NI LabVIEW

## Slide 29: Parallel processing in OpenDSS using DirectDLL

## Slide 30: Parallel processing in OpenDSS using DirectDLL

## Slide 31: Complementary Tools
Advanced Graphics Module for OpenDSS (OpenDSS-Viewer)
Developed by Miguel Hernandez (EPRI). Enhance the visualization of Distribution System Simulations with a flexible, scalable and meaningful approach.
https://epri.box.com/s/o4itfn23txv73iyo3y1ukbs9nmgsspgo

## Slide 32: Complementary Tools

## Slide 33: Complementary Tools
Demos

## Slide 34: Questions

## Slide 35: Introduction to OpenDSS-G

## Slide 36: Introduction to OpenDSS-G

## Slide 37: Introduction to OpenDSS-G

## Slide 38: Introduction to OpenDSS-G

## Slide 39: Introduction to OpenDSS-G

## Slide 40: Introduction to OpenDSS-G

## Slide 41: Introduction to OpenDSS-G

## Slide 42: Introduction to OpenDSS-G

## Slide 43: Introduction to OpenDSS-G

## Slide 44: Introduction to OpenDSS-G

## Slide 45: Introduction to OpenDSS-G

## Slide 46: Introduction to OpenDSS-G

## Slide 47: Introduction to OpenDSS-G

## Slide 48: Introduction to OpenDSS-G

## Slide 49: Introduction to OpenDSS-G

## Slide 50: Introduction to OpenDSS-G
Demos

## Slide 51: Creating your model
You have 2 options:
Importing an existing model
Describing your circuit from the scratch

## Slide 52: Before anything
Download the examples to be used in this session:
https://sourceforge.net/p/dssimpc/code/HEAD/tree/trunk/Distribution/Examples/

## Slide 53: Importing a model

## Slide 54: Importing a model

## Slide 55: Importing a model
Live Demo

## Slide 56: Creating the model from the scratch

## Slide 57: Creating the model from the scratch

## Slide 58: Creating the model from the scratch
Rules:
Connect your PD/PCElement to an existing bus
Follow the instructions

## Slide 59: Creating the model from the scratch
Transformers (special case):

## Slide 60: Creating the model from the scratch
Transformers (special case):

## Slide 61: Creating the model from the scratch
Live Demo

## Slide 62: Other possibilities
Update your model (DSSim-PC)

## Slide 63: Using OpenDSS-G (Simulation
Let’s simulate

## Slide 64: Using OpenDSS-G (Simulation
Today’s examples:
Using Storage devices
Yearly Simulations and parallel processing
Real-time Simulation
  Checking regulators and protections coordination
  Using the FLISR programmer

## Slide 65: Using OpenDSS-G (Simulation
Live Demo

## Slide 66: Before anything
Download the examples to be used in this session:
https://sourceforge.net/p/dssimpc/code/HEAD/tree/trunk/Distribution/Examples/

## Slide 67: First Example
Playing with Smart inverters

## Slide 68: Second Example
Harmonics simulation

## Slide 69: Co-Simulation
OpenDSS-G Incorporates a TCP server for distributed applications

## Slide 70: Co-Simulation

## Slide 71: Co-Simulation
Documentation:
https://sourceforge.net/projects/dssimpc/files/Documents/DSTCP-Comm.pdf/download
https://sourceforge.net/projects/dssimpc/files/Documents/MATLAB_Lib.pdf/download

## Slide 72: Co-Simulation
MATLAB Example

## Slide 73: Co-Simulation
LabVIEW Example

## Slide 74: Changing the language of your local installation

## Slide 75: Changing the language of your local installation
Documentation:
https://sourceforge.net/projects/dssimpc/files/Documents/Changing_the_language_of_OpenDSS-G.pdf/download
https://sourceforge.net/projects/dssimpc/files/Documents/Changing_the_language_of_OpenDSS-G-menus.pdf/download