## Slide 1: OpenDSS Training Workshop
Roger C. Dugan
Davis Montenegro
EPRI Knoxville, TN
September 24-25, 2019
Idaho Power Co.
Boise, Idaho

## Slide 2: Introduction to OpenDSS-G

## Slide 3
Introduction to OpenDSS-G
OpenDSS-G (formerly DSSim-PC) is a new step in the evolution of simulation tools for planning and operations based in OpenDSS.
This interface has adopted the functionalities of OpenDSS for making easier to the user to use the advance features of the platform.

## Slide 4
Introduction to OpenDSS-G
Installing OpenDSS-G
Download (https://www.epri.com/#/pages/sa/opendss?lang=es)
Follow the instructions

## Slide 5
Introduction to OpenDSS-G
Installing OpenDSS-G
Specify the destination folder
Finish

## Slide 6
Introduction to OpenDSS-G
Installing OpenDSS-G
Install the database
This is not mandatory but just in case

## Slide 7
Introduction to OpenDSS-G
Installing OpenDSS-G
Finally, the ODBC
At this point your system should be all set!

## Slide 8
Introduction to OpenDSS-G
OpenDSS-G

## Slide 9
Introduction to OpenDSS-G
The workspace
1
3
2

## Slide 10
Introduction to OpenDSS-G
The workspace

## Slide 11
Introduction to OpenDSS-G
The workspace

## Slide 12
Introduction to OpenDSS-G
The workspace

## Slide 13
Introduction to OpenDSS-G
The workspace

## Slide 14
Introduction to OpenDSS-G
The Tools palette

## Slide 15
Introduction to OpenDSS-G
The Tools palette

## Slide 16
Introduction to OpenDSS-G
Configuring the environment

## Slide 17
Introduction to OpenDSS-G
Editing tools

## Slide 18
Introduction to OpenDSS-G
Editing tools

## Slide 19
Introduction to OpenDSS-G
Editing tools

## Slide 20
Introduction to OpenDSS-G
Editing tools

## Slide 21
Introduction to OpenDSS-G
Editing tools

## Slide 22
Introduction to OpenDSS-G
Editing tools

## Slide 23: Creating a model

## Slide 24
Model creation
There are a couple of options
Importing an existing model
Describing your circuit from the scratch

## Slide 25
Model creation
Before anything
Download the examples to be used in this session:
https://sourceforge.net/p/dssimpc/code/HEAD/tree/trunk/Distribution/Examples/

## Slide 26
Model creation
Importing a model

## Slide 27
Model creation
Importing a model
Let’s import an OpenDSS circuit

## Slide 28
Model creation
Building the model from the scratch

## Slide 29
Model creation
Building the model from the scratch
Rules:
Connect your PD/PCElement to an existing bus
Follow the instructions

## Slide 30
Model creation
Building the model from the scratch
(Special elements)

## Slide 31
Model creation
Building the model from the scratch
(Special elements)

## Slide 32
Model creation
Building the model from the scratch
Let’s build a simple circuit

## Slide 33: Parallel processing using OpenDSS-G

## Slide 34: Parallel processing using OpenDSS-G
OpenDSS-G includes parallel processing capabilities that can be used through the Configuration menu.

## Slide 35: Parallel processing using OpenDSS-G
OpenDSS-G includes parallel processing capabilities that can be used through the Configuration menu.

## Slide 36: Parallel processing using OpenDSS-G
OpenDSS-G includes parallel processing capabilities that can be used through the Configuration menu.

## Slide 37: Parallel processing using OpenDSS-G
OpenDSS-G includes parallel processing capabilities that can be used through the Configuration menu.

## Slide 38: Visualizing data

## Slide 39: Monitors and meters in OpenDSS-G

## Slide 40: Monitors and meters in OpenDSS-G
Monitors

## Slide 41: Monitors and meters in OpenDSS-G
Monitors

## Slide 42: Monitors and meters in OpenDSS-G
Monitors

## Slide 43: Monitors and meters in OpenDSS-G
Energy meters

## Slide 44: Monitors and meters in OpenDSS-G
Special mode (Harmonics)

## Slide 45: Monitors and meters in OpenDSS-G
Let’s run an example

## Slide 46: Model statistics
Getting information about the model

## Slide 47: Finding elements within the model
Getting information about the elements within model

## Slide 48: Interacting with the model
Close/open switching elements

## Slide 49: Interacting with the model
Adding faults

## Slide 50: Interacting with the model
Adding faults

## Slide 51: Real-Time simulation
Real-Time simulation module

## Slide 52: Real-Time simulation
FLISR (Fault Location, Isolation and Service Restoration) simulation module

## Slide 53: Real-Time simulation
FLISR (Fault Location, Isolation and Service Restoration) simulation module

## Slide 54: Visualizing elements within the model
The elements palette

## Slide 55: Co-Simulating with OpenDSS-G
The TCP-IP server
OpenDSS-G has a TCP/IP server integrated for co-simulation with other platforms. The document that describes the protocol and uses can be downloaded from https://sourceforge.net/projects/dssimpc/files/Documents/DSTCP-Comm.pdf/download.
Co-simulation examples for MATLAB and NI LabVIEW can be found at https://sourceforge.net/p/dssimpc/code/HEAD/tree/trunk/Distribution/Examples/.

## Slide 56: Co-Simulation with OpenDSS-G
Let’s run an example

## Slide 57: Visual aids for editing in OpenDSS-G

## Slide 58: Visual aids for editing in OpenDSS-G
The inspector window

## Slide 59: Visual aids for editing in OpenDSS-G
The inspector window

## Slide 60: Visual aids for editing in OpenDSS-G
The inspector window

## Slide 61: Visual aids for editing in OpenDSS-G
Flags

## Slide 62: Visual aids for editing in OpenDSS-G
Flags

## Slide 63: Visual aids for editing in OpenDSS-G
The simulation explorer

## Slide 64: Visual aids for editing in OpenDSS-G
The simulation explorer

## Slide 65: Visual aids for editing in OpenDSS-G
The simulation explorer

## Slide 66: Visual aids for editing in OpenDSS-G
The simulation explorer

## Slide 67: Visual aids for editing in OpenDSS-G
The simulation explorer

## Slide 68: Visual aids for editing in OpenDSS-G
Let’s run an example

## Slide 69: Visual aids for editing in OpenDSS-G
Other graphics

## Slide 70: Visual aids for editing in OpenDSS-G
Other graphics

## Slide 71: Visual aids for editing in OpenDSS-G
Other graphics

## Slide 72: Visual aids for editing in OpenDSS-G
Quick measurements

## Slide 73: Visual aids for editing in OpenDSS-G
Quick measurements

## Slide 74: Visual aids for editing in OpenDSS-G
Quick measurements

## Slide 75: Visual aids for editing in OpenDSS-G
Let’s run an example