## Slide 1: Constant Power Factor mode PVSystem2
OpenDSS: Version 8.6.2.1 (64-bit build)
Authors: Paulo Radatz and Celso Rocha

## Slide 2: Scenario 1: Snapshot with pf=0.9
OpenDSS code (SnapShot_PFP_Standard-PV2.dss)
Results:
Key points:
It works as expected!
Constant power factor is equal to 0.9

## Slide 3: Scenario 2: Snapshot with pf=0.9 and kVA limitation
kVA = 1000kVA
OpenDSS code (SnapShot_PFP_kVAlimitation-PV2.dss)
Results:
OpenDSS Modified
Key points:
It works as expected!
Constant power factor is equal to 0.9
kVA_out is equal to kVA rating

## Slide 4: Scenario 3: Snapshot with pf=0.9 and kvar limitation
kvarlimit = 300
OpenDSS code (SnapShot_PFP_kvarlimitation-PV2.dss)
Results:
OpenDSS Modified
Key points:
It works as expected!
Constant power factor is equal to 0.9
Kvar_out is equal to kvar limit

## Slide 5: Scenario 4: Snapshot with pf=0.9 and pctPmpp limitation
pctPmpp = 60
OpenDSS code (SnapShot_PFP_pctPmpplimitation-PV2.dss)
Results:
OpenDSS Modified
Key points:
It works as expected!
Constant power factor is equal to 0.9
KW_out is equal to pctPmpp x Pmpp/100