Table of Contents

[1 Background 1](#_Toc66384665)

[2 Streamlined Build Instructions 2](#_Toc66384666)

[2.1 Linux Build Environment 3](#_Toc66384667)

[2.2 Mac OS X Build Environment 3](#_Toc66384668)

[2.3 Windows Build Environment 4](#_Toc66384669)

[2.4 Supporting Code Repositories 4](#_Toc66384670)

[2.5 OpenDSS Repository 4](#_Toc66384671)

[2.6 Linux and Mac OS X Builds 5](#_Toc66384672)

[2.7 Windows Builds 6](#_Toc66384673)

[2.8 Installer Builds 7](#_Toc66384674)

[3 FNCS and HELICS Examples 7](#_Toc66384675)

[3.1 PV and Switching on IEEE 13-Bus Feeder 7](#_Toc66384676)

[3.2 Adding Houses to the PV Example 9](#_Toc66384677)

[3.3 Running on Windows 10](#_Toc66384678)

[3.4 Utility-Scale FNCS Example 11](#_Toc66384679)

[4 Developer Notes for OpenDSSCmd 11](#_Toc66384680)

[4.1 Source Code Directories 11](#_Toc66384681)

[4.2 Notes on FNCS and HELICS Publications 12](#_Toc66384682)

[4.3 Open Issues 12](#_Toc66384683)

[4.4 Using Lazarus instead of FPC from the Command Line 13](#_Toc66384684)

[4.5 Other OpenDSS Development Branches 13](#_Toc66384685)

[5 References 13](#_Toc66384686)

# Background

OpenDSS is a distribution system simulator that is generally comparable to GridLAB-D, although each program has advantages and disadvantages over the other [1]. It was developed with EPRI funding as a Windows-only application, using commercial Windows-only tools. This memo summarizes the build process of a console-mode, cross-platform version using GCC, FPC and Lazarus. Tested platforms include Windows 10, Ubuntu 18.04 and Mac OS X High Sierra.

OpenDSS was written in Delphi (a Windows-specific version of Pascal), and it requires the KLUSolve sparse matrix solver, which was written in C/C++. After compiling KLUSolve with a C/C++ compiler, it’s then possible to build OpenDSS with Free Pascal (FPC) 3.2 on Windows, Linux and Mac OS X. Modern versions of Pascal are object-oriented, but simpler than C++ and Java. There are syntax differences, but a developer who is already comfortable with C++ or Java can be productive in Pascal, too. See <http://wiki.freepascal.org/Lazarus_Documentation#Lazarus_and_Pascal_Tutorials>. There is a Free Pascal IDE and cross-platform GUI toolkit called Lazarus, but this is not required for OpenDSS.

With a common code base, there can still be differences between the native and cross-platform versions. For example, EPRI has implemented a Windows-only parallelization scheme, and continues to develop Windows-only automation interfaces. NREL uses a shared-library version of OpenDSS called by Python and/or Julia. On the other hand, PNNL implemented native FNCS [2] and HELICS [3] interfaces, and command-line history only for the cross-platform version. In addition, the cross-platform version has the most up-to-date support for Common Information Model (CIM) export [4]. However, both versions maintain the same core modeling and analysis functions.

Install the appropriate version from <https://sourceforge.net/projects/electricdss/files/OpenDSSCmd/>. This includes a selection of documentation, examples and tech notes on non-graphical features.

To run the program:

1. Enter “opendsscmd” from a command prompt
   1. The program’s >> prompt will appear. Enter any OpenDSS command(s) from this prompt
   2. Up and down arrows navigate through the command history
   3. Enter “help” from the >> prompt for the built-in help
   4. Enter “exit”, “q” or an empty line from >> to exit
2. You can enter “opendsscmd filename.dss” from a command prompt. This runs the OpenDSS commands in filename.dss, and then exits immediately.
3. You can enter “opendsscmd –f” from a command prompt; this enters a FNCS time step loop.
4. You can enter “opendsscmd –f filename.dss” from a command prompt. This runs the OpenDSS commands in filename.dss, and then enters a FNCS time step loop.

# Streamlined Build Instructions

These instructions were tested on Mac OS X Mojave, Ubuntu 18.04 and Windows 10. The streamlined build includes OpenDSSCmd, FNCS and HELICS. On Linux and Mac OS X, the build uses the GNU C/C++ compiler, gcc/g++ version 7 or later. On Windows, the build uses Microsoft Visual Studio Build Tools 2019 or later, such that MSYS2 is no longer necessary. On all platforms, FPC, CMAKE, Git and an SVN client are required. All build steps can be done from a command prompt or terminal window. The Lazarus IDE is optional for those actively developing for OpenDSS, as described later.

These instructions no longer assume that GridLAB-D is built first on the target computer. You can install or build packages that include both OpenDSSCmd and GridLAB-D, with FNCS and HELICS interfaces, from the Transactive Energy Simulation Platform (<https://github.com/pnnl/tesp/tree/develop>) or from GridAPPS-D (<https://github.com/GRIDAPPSD>). GridLAB-D itself can be installed alongside OpenDSS from this link: <https://sourceforge.net/projects/gridlab-d/>, but without FNCS and HELICS interfaces.

## Linux Build Environment

On Ubuntu, use the package manager to install several packages:

sudo apt-get -y install git

sudo apt-get -y install git-lfs

sudo apt-get -y install build-essential

sudo apt-get -y install subversion

sudo apt-get -y install cmake

sudo apt-get -y install libzmq5-dev

sudo apt-get -y install libczmq-dev

sudo apt-get -y install fpc

On Centos (version 8 tested):

sudo dnf clean all

sudo dnf update -y

sudo dnf install zeromq-devel -y

sudo dnf install czmq-devel -y

sudo dnf install fpc -y

The CMAKE version must be at least 3.18. If not, update with installer script (tested Ubuntu 18.04):

* sudo apt-get remove cmake
* install the latest version from <https://cmake.org/download/> and add to your PATH

Or build the latest CMAKE from source (tested Centos 8):

sudo dnf remove cmake

sudo dnf install openssl

sudo dnf install openssl-devel

cd ~/src

wget <https://github.com/Kitware/CMake/releases/download/v3.19.2/cmake-3.19.2.tar.gz>

tar -zxvf cmake-3.19.2.tar.gz

cd cmake-3.19.2

./bootstrap

make

sudo make install

cmake --version

The FPC version must be at least 3.2.0. If not (tested Ubuntu 18.04; Centos 8 already installs 3.2.0):

* sudo apt-get remove fpc
* from <https://sourceforge.net/projects/freepascal/files/Linux/3.2.0/>, download, unzip and install   
  ***fpc-3.2.0-x86\_64-linux.tar***

## Mac OS X Build Environment

Use Xcode and HomeBrew to install several packages:

xcode-select –-install

/bin/bash -c "$(curl -fsSL https://raw.githubusercontent.com/Homebrew/install/master/install.sh)"

brew install subversion

brew install gdb

brew install cmake

brew install zmq

brew install czmq

brew install fpc

These package versions are currently up to date for OpenDSSCmd. If not, please see <http://gridlab-d.shoutwiki.com/wiki/Mac_OSX/Setup> or <https://wiki.freepascal.org/Installing_Lazarus_on_macOS> for more information. See <https://sourceforge.net/projects/freepascal/files/Mac%20OS%20X/3.2.0/> for the latest intel-macosx.dmg installer.

## Windows Build Environment

1. Install C/C++ compiler and Cmake from: <https://visualstudio.microsoft.com/downloads/> (find *Build Tools for Visual Studio 2019* under *Tools for Visual Studio 2019*)
2. If you don’t have an SVN client, install from <https://tortoisesvn.net/>. On the “Custom Setup” page, select “Command Line Tools” for inclusion.
3. If you don’t have a Git client, install from <https://www.sourcetreeapp.com/>. To use the command line Git from SourceTree on Windows, you may use the “Actions/Open in Terminal” menu command. You may alternatively install the command line Git from <https://git-scm.com/downloads>
4. Install FPC 3.2 from <https://sourceforge.net/projects/freepascal/files/Win32/3.2.0/>. You must install the base win32 compiler for i386 first, and then the x86\_64 cross-compiler.

## Supporting Code Repositories

It’s assumed that all repositories will be cloned under a common location, such as ***~/src*** or ***c:\src***. From a terminal window in that directory, use these commands to pull the correct branches:

git clone **-b feature/opendss** https://github.com/FNCS/fncs.git

git clone https://github.com/GMLC-TDC/HELICS-src.git

git clone https://github.com/pnnl/linenoise-ng.git

svn checkout <https://svn.code.sf.net/p/klusolve/code>

On Windows only:

git clone https://github.com/zeromq/libzmq.git

git clone https://github.com/zeromq/czmq.git

## OpenDSS Repository

Because EPRI keeps large build products, Windows-only artifacts and copy-paste code branches in the same repository, two different strategies are provided. Both start in ***~/src*** or ***c:\src***.

Strategy 1, “grab everything” for building the executable and everything else in the installer:

svn checkout https://svn.code.sf.net/p/electricdss/code/trunk

Strategy 2, “selective retrieval” for building the executable only, not the full set of examples and documents. The grayed-out steps are optional, i.e., not necessary for the executable.

**mkdir OpenDSS or md OpenDSS**

**cd OpenDSS**

**svn checkout --depth immediates https://svn.code.sf.net/p/electricdss/code/trunk/Version7 .**

svn update --set-depth infinity Doc

svn update --set-depth infinity Test

svn update --set-depth infinity Distrib/Doc

svn update --set-depth infinity Distrib/EPRITestCircuits

svn update --set-depth infinity Distrib/IEEETestCases

svn update --set-depth infinity Distrib/Examples

**svn update --set-depth infinity Source/Common**

**svn update --set-depth infinity Source/CMD**

svn update --set-depth infinity Source/DDLL

**svn update --set-depth infinity Source/Controls**

**svn update --set-depth infinity Source/Executive**

**svn update –-set-depth infinity Source/epiktimer**

**svn update --set-depth infinity Source/General**

svn update --set-depth infinity Source/generics.collections

**svn update --set-depth infinity Source/Meters**

**svn update --set-depth infinity Source/Shared**

**svn update --set-depth infinity Source/Parser**

**svn update --set-depth infinity Source/PCElements**

**svn update --set-depth infinity Source/PDElements**

A third strategy uses git for a “full retrieval except for binaries”, ignoring part of the revision history that was corrupted on SourceForge. See <https://github.com/dss-extensions/electricdss-tst> for an example.

## Linux and Mac OS X Builds

Build FNCS (library, broker, player and tracer only, with CMake):

cd ~/src/fncs

mkdir build

cd build

cmake -DCMAKE\_BUILD\_TYPE=Release ..

make

sudo make install

Build HELICS:

cd ~/src/HELICS-src

mkdir build

cd build

cmake -DBUILD\_SHARED\_LIBS=ON -DHELICS\_DISABLE\_BOOST=ON -DCMAKE\_BUILD\_TYPE=Release ..

git submodule update --init

make -j4

sudo make install

helics\_broker -–version # should return a version number for “pip3 install helics==version”

Build linenoise-ng for OpenDSSCmd:

cd ~/src/linenoise-ng

mkdir build

cd build

cmake -DCMAKE\_BUILD\_TYPE=Release ..

make

sudo make install

Build KLUSolve for OpenDSSCmd:

cd ~/src/KLUSolve

mkdir build

cd build

cmake -DCMAKE\_BUILD\_TYPE=Release ..

make

sudo make install

Setup Libraries (Linux):

You may need to add /usr/local/lib to the path for shared libraries (\*.so). If that’s the case, add a file called *opendsscmd.conf* with contents */usr/local*/lib to the */etc/ld.conf.d* directory. Either way:

sudo ldconfig

(then logout and login)

Build OpenDSSCmd:

cd ~/src/OpenDSS/Source/CMD

mkdir units

chmod +x \*.sh # only required once

./build.sh

Test OpenDSSCmd:

cd test

chmod +x \*.sh # only required once

See if the command history works. Type “q” or ctrl-C to exit.

./opendsscmd

Solve a 13-bus circuit, exit, and open a text editor on the voltage results.

./opendsscmd IEEE13Nodeckt.dss

If FNCS is installed, test that connection. Look for results in \*.log and tracer.out.

./test\_fncs.sh

## Windows Builds

Be sure to open the **x64 Native Tools** Command Prompt for VS 2019. (The default is 32-bit, if you open directly from the Microsoft installer). Libraries will be installed into **c:\cmdtools**, but this can be changed in the following scripts.

* Add **c:\cmdtools\bin** to the path for testing purposes

Build libzmq for FNCS and HELICS:

cd c:\src\libzmq

md build

cd build

cmake .. -DBUILD\_STATIC=OFF -DBUILD\_SHARED=ON -DZMQ\_BUILD\_TESTS=OFF \

-DENABLE\_CPACK=OFF -DWITH\_PERF\_TOOL=OFF -DCMAKE\_INSTALL\_PREFIX=C:\cmdtools

cmake --build . --config Release --target install

Build czmq for FNCS:

cd c:\src\czmq

md build

cd build

cmake .. -DCZMQ\_BUILD\_SHARED=ON -DCZMQ\_BUILD\_STATIC=OFF \

-DCMAKE\_PREFIX\_PATH=C:\cmdtools

cmake --build . --config Release –-target install

Build FNCS:

cd c:\src\FNCS

md build

cd build

cmake .. -DCMAKE\_INSTALL\_PREFIX=C:\cmdtools

cmake –-build . –-config Release –-target install

Build HELICS:

cd c:\src\HELICS-src

md build

cd build

cmake .. -DBUILD\_SHARED\_LIBS=ON -DHELICS\_DISABLE\_BOOST=ON -DHELICS\_ZMQ\_SUBPROJECT=OFF \

-DCMAKE\_INSTALL\_PREFIX=C:\cmdtools

git submodule update --init

cmake --build . --config Release --target install

helics\_broker -–version # should return a version number for “pip install helics==version”

Build linenoise-ng for OpenDSSCmd:

cd c:\src\linenoise-ng

md build

cd build

cmake .. -DCMAKE\_INSTALL\_PREFIX=C:\cmdtools

cmake --build . --config Release –-target install

Build KLUSolve for OpenDSSCmd:

cd c:\src\KLUSolve

md build

cd build

cmake .. -DCMAKE\_INSTALL\_PREFIX=C:\cmdtools

cmake --build . --config Release –-target install

Build OpenDSSCmd:

cd c:\src\OpenDSS\Version7\Source\CMD

md units

build.bat

Test OpenDSSCmd:

cd test

See if the command history works. Type “q” or ctrl-C to exit.

opendsscmd

Solve a 13-bus circuit, exit, and open a text editor on the voltage results.

opendsscmd IEEE13Nodeckt.dss

If FNCS is installed, test that connection. Look for results in \*.log and tracer.out.

test\_fncs.bat

Copy this executable to the path.

copy opendsscmd.exe c:\cmdtools\bin

## Installer Builds

The Bitrock Installer has been acquired by VMWare. It runs on Linux, Mac OS X and Windows; it can then build the installers for all three platforms. On a checkout of the full repository, the installer project file will be found at ***~/src/OpenDSS/Distrib/BitrockInstaller/OpenDSSCmd.xml***, with supporting scripts in the same directory. Upload to <https://sourceforge.net/projects/electricdss/files/OpenDSSCmd/>

* If building in a TESP-like environment, use *$TESP\_INSTALL=/usr/local* for FNCS and HELICS
* To sync the Python interface, use *pip install helics==2.6.1*, where 2.6.1 is the result of *helics\_broker --version*

# FNCS and HELICS Examples

## PV and Switching on IEEE 13-Bus Feeder

Input files for this example may be found under ***Version7/Source/CMD/Test*** of the repository. With reference to Figure 1, a 285-kW solar generator has been added to bus 634, and then a cloudy day is simulated at 1-second time steps. At mid-day, the normally-closed switch from 671 to 692 opens, which drops part of the load. The total feeder load is plotted to the right of Figure 1, and it shows the effect of both PV generation during daylight hours, and the load shedding at mid-day. Otherwise, the feeder load would have been constant at about 3600 kW.




Figure : Daily simulation of IEEE 13-bus system at 1-second time steps. This feeder’s peak load is about 3600 kW. Here, 285 kW of solar PV generation has been added to bus 634. The normally closed (NC) switch opens at about noon.

The bash script that runs this example on Mac or Linux follows, as ***test\_fncspv.sh***. The three federates are OpenDSS, a FNCS player to pipe scripted commands into OpenDSS, and a FNCS tracer to log publications from OpenDSS.

(exec fncs\_broker 3 &> brokerpv.log &)

(exec fncs\_player 25h opendss.playerpv &> playerpv.log &)

(export FNCS\_CONFIG\_FILE=tracer.yaml && exec fncs\_tracer 25h tracerpv.out &> tracerpv.log &)

(export FNCS\_CONFIG\_FILE=opendss.yaml && exec ./opendsscmd -f 25h &> opendsspv.log &)

The FNCS configuration file for OpenDSS, ***opendss.yaml***, is show below.

name: opendss

time\_delta: 1s

broker: tcp://localhost:5570

values:

command:

topic: player/command

default: 0

list: true

OpenDSS only subscribes to scripted text commands, which is enough for the GridAPPS-D and TESP use cases. The only likely changes are highlighted in red, for the FNCS port and the federate that’s going to be issuing commands to OpenDSS.

The scripted commands are found in ***opendss.playerpv***, reproduced below. The commands from 0 to 9 ns set up the simulation according to OpenDSS syntax. See the documentation that comes with OpenDSS for more details on the syntax and features. The command at 10 ns requests the start of an 86400s simulation, which actually begins at 1s or 1e9 ns.

#time topic value

0 command redirect IEEE13Base.dss

1 command new loadshape.pvshape npts=86401 sinterval=1 mult=(file=pvshape.dat) action=normalize

2 command new pvsystem.pv1 bus1=634 phases=3 kV=0.48 irradiance=1 pmpp=285 kVA=300 daily=pvshape

3 command new monitor.pv1v element=pvsystem.pv1 terminal=1 mode=96

4 command new monitor.pv1pq element=pvsystem.pv1 terminal=1 mode=65 PPolar=NO

5 command new monitor.fdrpq element=line.650632 terminal=1 mode=65 PPolar=NO

6 command solve

7 command export summary pvsnap\_summary.csv

8 command set controlmode=static

9 command set maxcontroliter=1000

10 command solve mode=daily stepsize=1s number=86400

42401500000000 command open Line.671692 1

86401000000000 command export monitors pv1v

86401000000000 command export monitors pv1pq

86401000000000 command export monitors fdrpq

86401000000000 command quit

At the end of each time step, which is 1s, a function called ***TSolutionObj.Increment\_time*** calls back to another function that issues ***fncs\_time\_request***. For nearly all of the time steps, the callback function returns immediately and allows OpenDSS to just take the next time step. However, at 42402s, the command “open Line.671692 1” has been received from FNCS. The time request is granted, but before returning control to the time step loop, the callback function executes that command to open a switch. We see the effect of this plotted in Figure 1.

The last four scripted commands will execute just after the time step looping has completed. These export the monitor data to CSV files, and then quit OpenDSS. This happens before the 25 hours specified in ***test\_fncspv.sh***, but the broker and each federate complete an orderly shutdown.

## Adding Houses to the PV Example

This example depends on a recent installation of GridLAB-D, with the FNCS and/or HELICS interface. These interfaces are not installed with the SourceForge download of GridLAB-D, but they are included with TESP, or they may be built from source. This example adds a center-tap transformer and house load to the 13-bus model, in lines 2-3 of the following player file. The PV does not vary, but the switch still opens midway through the simulation.

***gldopendsshelics.playergld***

#time topic value

-1 command "redirect IEEE13Base.dss"

1 command "new XfmrCode.CT5 phases=1 windings=3 kvs=[2.4 0.12 0.12] kVAs=[5.0 5.0 5.0] %imag=0.5 %Rs=[0.6 1.2 1.2] %noloadloss=0.2 Xhl=2.04 Xht=2.04 Xlt=1.36"

2 command "new Transformer.Tpoletop XfmrCode=CT5 buses=[680.1 house.1.0 house.0.2]"

3 command "**new Load.F1\_house\_B0** phases=2 Bus1=house.1.2 kv=0.208 conn=wye model=1 kW=0.1 kvar=0"

4 command "new pvsystem.pv1 bus1=634 phases=3 kV=0.48 irradiance=1 pmpp=285 kVA=300"

5 command "new monitor.pv1v element=pvsystem.pv1 terminal=1 mode=96"

6 command "new monitor.pv1pq element=pvsystem.pv1 terminal=1 mode=65 PPolar=NO"

7 command "new monitor.fdrpq element=line.650632 terminal=1 mode=65 PPolar=NO"

8 command "new monitor.hsepq element=load.F1\_house\_B0 terminal=1 mode=65 PPolar=NO"

9 command solve

10 command "export summary pvsnap\_summary.csv"

11 command "set controlmode=static"

12 command "set maxcontroliter=1000"

13 command "helicspub fname=houses.json"

14 command "solve mode=daily stepsize=1s number=86400"

42401500000000 command "open Line.671692 1"

86400999999990 command "export monitors pv1v"

86400999999992 command "export monitors pv1pq"

86400999999994 command "export monitors fdrpq"

86400999999996 command "export monitors hsepq"

86401000000000 command quit

The load is determined at run-time, through the house instantiated in ***HousesHelics.glm***. Only recent builds of GridLAB-D support houses that respond to voltage, without being connected to a GridLAB-D power flow component, as done in this example. The next two listings configure HELICS messages for OpenDSS publishing voltages to the GridLAB-D house panel, and subscribing to power from the GridLAB-D house panel. See Figure 2 for a sample output from ***test\_helicsgld.sh***.



Figure 2: OpenDSS house load power, subscribed from GridLAB-D

***gldhouseshelics.json (House topics only)***

{

"coreType" : "zmq",

"name" : "gridlabd",

"period" : 1,

"loglevel" : 7,

"publications" : [

{

"global" : false,

"key" : "F1\_house\_B0/load",

"type" : "complex",

"info" : "{\"object\":\"F1\_house\_B0\",\"property\":\"power\"}"

}

],

"subscriptions" : [

{

"key" : "opendss/bus/house/voltage/A",

"type" : "complex",

"required" : true,

"info" : "{\"object\":\"F1\_house\_B0\",\"property\":\"external\_v1N\"}"

},

{

"key" : "opendss/bus/house/voltage/B",

"type" : "complex",

"required" : true,

"info" : "{\"object\":\"F1\_house\_B0\",\"property\":\"external\_v2N\"}"

}

]

}

***gldopendsshouseshelics.json (House and Command topics only)***

{

"coreType" : "zmq",

"name" : "opendss",

"period" : 0.000000001,

"loglevel" : 7,

"publications" : [

{

"global" : false,

"key" : "bus/house/voltage/A",

"type" : "complex"

},

{

"global" : false,

"key" : "bus/house/voltage/B",

"type" : "complex"

}

],

"subscriptions" : [

{

"key" : "player/command",

"type" : "string",

"required" : true

},

{

"key" : "gridlabd/F1\_house\_B0/load",

"type" : "complex",

"required" : true

}

]

}

## Running on Windows

There is a corresponding batch file for each bash script. For example, to run the PV example with FNCS:

* Invoke ***test\_fncspv.bat***
* Use ***list5570.bat*** to list the FNCS federates that are still running
* Use ***kill5570.bat*** to stop the FNCS federates, if necessary. This only stops one federate at a time, so repeat invocations may be needed.
* The FNCS federates may not for several seconds after the simulation ends. Use ***list5570.bat*** and***kill5570.bat*** to make sure they’ve all exited, before starting another FNCS co-simulation

For HELICS, use ***list23404.bat*** and ***kill23404.bat*** to list and stop the HELICS federates, as needed.

## Utility-Scale FNCS Example

A larger FNCS example includes weather and a transactive rationing agent, depicted in Figure 3 [5]




Figure : Simulation of transactive rationing with network model and weather [5]

# Developer Notes for OpenDSSCmd

## Source Code Directories

The main files of interest for work done to date are:

* Source/CMD/CmdForms.pas – non-graphical alternatives to the GUI components that are sprinkled throughout other source files
* Source/CMD/FNCS.pas – loads and uses the FNCS shared library, i.e., dll, dylib or so file.
* Source/CMD/opendsscmd.lpr – main source file for the opendsscmd application
* Source/Common/Solution.pas – the *Increment\_time* function is here

OpenDSS is primarily a power flow program. A top-level roadmap to the source code sub-directories follows. Please consider any other source directories you may see to be orphaned, or otherwise deprecated.

* Source/CMD – the Lazarus/FPC version
* Source/Common – circuits, buses and solutions. The CIM export code is here.
* Source/Controls – regulator, capacitor, inverter, switch and other controls. The controls themselves do not carry power
* Source/DDLL – a direct-DLL interface, which we are partly implementing in FNCS and HELICS
* Source/DLL – a Windows COM interface, which we are partly implementing in FNCS and HELICS
* Source/epiktimer – a cross-platform implementation and wrapper of QueryPerformance
* Source/EXE – a Windows standalone application
* Source/Executive – executes the scripted commands, contains the on-line help text
* Source/Forms – GUI components, to be avoided in the Lazarus/FPC version
* Source/generics.collections – will be removed in favor of support now built in to fpc 3.2
* Source/General – elements that support PC and PD elements, including line codes, wires, spacings, transformer codes, loadshapes, curves, etc.
* Source/IndMach012a – a dynamic induction machine model that we are not using, but it does provide an example of interfacing a new component to OpenDSS as a DLL
* Source/Meters – sensors, monitors and energy meters (these are not billing meters as in GridLAB-D)
* Source/Parser – parses text input
* Source/PCElements – power conversion (PC) elements like load, generation, PV, storage
* Source/PDElements – power delivery (PD) elements like transformers and lines, also capacitors.
* Source/Plot – plots the circuit layouts and output values; not supported in Lazarus/FPC version
* Source/Shared – supporting complex numbers, hash lists, registry access, etc.
* Source/TCP\_IP – counterpart of the GridLAB-D server mode; which we are not using
* Source/TPerlRegEx – supports the batchedit command
* Source/x64 and Source/x86 – contains build products; PNNL does not use this but we have been unable to talk EPRI out of archiving build products.

## Notes on FNCS and HELICS Publications

The FNCS and HELICS interfaces are configured as value federates, with publications and subscriptions read from a JSON file (both) or text file (FNCS only).

* Both interfaces should build maps to objects within OpenDSS for each publication, where it makes sense for efficiency. If the network topology changes, the map can be rebuilt automatically because OpenDSS will trigger on topology changes.
* The COM interface implementations in the Source/DLL directory provide some examples of how to map the specific values for publication.
* There is no conception of “commit” or other stages of a time step. At ***Increment\_time*** and a few other points, OpenDSS should publish the configured values.
* HELICS endpoint is under development.
* A more efficient binary-level interface to the GridLAB-D houses will be developed, suitable for large numbers of houses.

## Open Issues

1. The regular expressions for the batchedit command, which are implemented in ExecHelper.pas, have become case-sensitive. They need to be made case-insensitive.
2. Use CMake to build OpenDSSCmd itself. CMake does not come with Pascal support, but a third-party developer has implemented it <https://github.com/hedgewars/hw/tree/master/cmake_modules>

## Using Lazarus instead of FPC from the Command Line

Instead of the build scripts, you will open the project file ~/src/OpenDSS/Source/CMD/opendsscmd.lpi from the Lazarus IDE. The IDE provides more convenient management of project files, builds and error messages. To install the IDE on Ubuntu, ***sudo apt-get install lazarus*** works. On Windows and Mac, you can download a combined package of Lazarus 2.0 and FPC 3.2 from <http://www.lazarus-ide.org/>

On the Mac, pay close attention to <http://wiki.freepascal.org/Installing_Lazarus_on_MacOS_X> for setting up gdb. When you start the Lazarus IDE for the first time; it should find the debugger (gdb) and possibly two compilers. **Choose the fpc compiler**, not the default ppc386 compiler. Otherwise, you can only make 32-bit executables from Lazarus. If necessary, you can fix this later from the IDE Tools / Options menu. However, the Lazarus IDE on Mac does not fully support Carbon, meaning that it can practically only create 32-bit GUI applications. This is a significant barrier to the possible cross-platform GUI for OpenDSS, at least one based on free development tools.

## Other OpenDSS Development Branches

EPRI’s parallelization in Version 8, which is Windows only and requires Delphi.

* <https://sourceforge.net/p/electricdss/code/HEAD/tree/trunk/Version8/>

A collection of unofficial OpenDSS extensions, including a C API, Python, Julia and other interfaces:

* <https://github.com/dss-extensions/>

# References

[1] R. C. Dugan and T. E. McDermott, "An open source platform for collaborating on smart grid research," in *Power and Energy Society General Meeting, 2011 IEEE*, 24-29 July 2011 2011, pp. 1-7, doi: 10.1109/PES.2011.6039829.

[2] S. Ciraci, J. Daily, J. Fuller, A. Fisher, L. Marinovici, and K. Agarwal, "FNCS: A Framework for Power System and Communication Networks Co-Simulation," in *Symposium on Theory of Modeling and Simulation*, San Diego, CA USA, 2014: ACM.

[3] B. Palmintier, D. Krishnamurthy, P. Top, S. Smith, J. Daily, and J. Fuller, "Design of the HELICS high-performance transmission-distribution-communication-market co-simulation framework," in *2017 Workshop on Modeling and Simulation of Cyber-Physical Energy Systems (MSCPES)*, 21-21 April 2017 2017, pp. 1-6, doi: 10.1109/MSCPES.2017.8064542.

[4] R. B. Melton *et al.*, "Leveraging Standards to Create an Open Platform for the Development of Advanced Distribution Applications," *IEEE Access,* vol. 6, pp. 37361-37370, 2018, doi: 10.1109/ACCESS.2018.2851186.

[5] T. E. McDermott, T. Hardy, A. Somani, S. Bender, and M. Moore, "Transactive Energy Rationing in an Islanded Electric Power System," presented at the IEEE GreenTech, Denver, 2021.